| Activity | Risk/Hazard | Who To | # Consequence | Qualifications Procedures Standards | Safeguards Precautions | Action |
| --- | --- | --- | --- | --- | --- | --- |
| # HQ |  |  |  |  |  |  |
|  | Slips, trips, falls | All | Injury | First Response | First aid equipment is available and properly stocked. A qualified first aider should be in attendance. |  |
|  | Hazards | Children | Injury |  | Inside and outside stores (equipment, gas, canoes) to be kept closed/locked and out of bounds to children unless under strict supervision. Check pioneering poles are safely stacked. (Barriers may be deemed necessary to prevent the temptation of climbing) Check security of perimeter fences adjacent to railway and houses. Check security of sub-station, gate, bins and gas meter area. Children must not be allowed to climb on roof. |  |
|  | Electrical |  |  |  | Check circuit breakers for potential faulty circuits. These are located: - Adjacent to fire door in old hall - Ladies toilet entrance (high up) - Boiler enclosure in centre store - Above blackboard in main hall Socket blanks should be fitted when a socket is not in use. |  |
|  | Heating |  |  |  | On exit the heating controllers ‘auto’ (winter) or ‘off’ (summer) settings should be selected by pressing lower button. Fixed settings of thermostat temperature (20degC) should not be altered. . |  |
|  | Field | All | Trips, injury |  | Check field for abandoned equipment/litter such as pegs, mallets, axes, drinks cans …. that might cause injury |  |
|  | Fire | All | Personal injury | Annual fire inspection | Combustible waste should be bagged and binned and not allowed to build up The adjacent smoke detector in the old hall should be checked and be in working order. Fire extinguisher and blanket must be available at signed/labelled locations (adjacent to doors) and serviceable. Gas bottles are stored securely and valves closed. Gas store is securely locked. |  |
|  | Emergency evacuation | All |  |  | Assembly area(s) to be identified and all participants to fully informed. |  |